钢管混凝土边柱与组合梁端板连接的抗震试验研究

(20磅黑体)

- ×××1,2  ×××1  ×××3  ×××2（五号仿宋）

- (1. 合肥工业大学， 安徽 合肥，230009； 2. 同济大学土木工程防灾国家重点实验室, 上海，200092；

- 3. 机械工业第一设计院, 安徽 合肥，230601) （五号仿宋）

摘  要（五号黑体）：为研究地震荷载作用下钢管混凝土柱与钢混凝土组合梁端板连接的受力性能和破坏机理，进行4榀带楼板半刚性钢管混凝土组合框架端板连接节点的低周反复荷载试验。试件为边柱节点，试验参数为柱截面类型和端板类型。详细考察试验全过程和试件破坏模式，分析组合节点的滞回曲线、骨架曲线及特征值、强度和刚度退化规律、耗能能力等。根据现有规范评价节点的刚性和延性。研究表明，端板类型、柱截面类型和螺栓锚固构造对组合节点的承载力和刚度有明显影响；钢管混凝土边柱与钢混凝土组合梁端板连接节点为半刚性连接、部分强度节点；此类新型组合节点具有良好的延性和耗能能力，连接构造安全可靠，满足现有抗震设计要求，可以在组合框架结构中应用。（五号楷体）

关键词（五号黑体）：半刚性连接； 钢管混凝土； 组合框架； 端板连接； 抗震性能（五号楷体）

Experimental study on seismic performance of endplate connections between

CFST external columns and composite beams (Times New Roman四号加粗)

×××1,2  ×××1  ×××3  ×××2 (Times New Roman小五斜，上标为正)

(1. Hefei University of Technology, Hefei 230009, China； 2. State Key Laboratory for Disaster Reduction in Civil Engineering,

Tongji University, Shanghai 200092, China; 3. First Mechanical Industry Design Institute, Hefei 230601, China) (Times New Roman小五)

Abstract (Times New Roman五加粗): To investigate the mechanical properties and failure mechanism of the endplate connections between Concrete-Filled Steel Tubular columns (CFST) and steel-concrete composite beams, an experimental study on four specimens of the endplate joints for semi-rigid CFST composite frame with concrete floorslab was conducted under low-cycle loading. All specimens are external column joints, and the column cross-section type and the endplate type are test parameters. The entire test process of all specimens and the failure mode were investigated, and the hysteresis curves, envelope curves and characteristic value, degradation regulation of strength and stiffness, and energy dissipation were also carefully observed. The test results show that the endplate type, the column cross-section type and the anchorage of blind bolts may affect the moment capacities and initial stiffness of composite joints. The endplate joints between CFST external columns and composite beams appear to be semi-rigid and partial strength joints. The novel composite joint possesses good ductility and energy dissipation capacity, reliable and safe performance in connection, so that it may satisfy the seismic design requirement and be used in composite structures. (Times New Roman五)

Keywords(Times New Roman五加粗): semi-rigid connection; Concrete-Filled Steel Tube; composite frame; endplate connection; seismic performance (Times New Roman五)